## Scenario
Scenario | Running Unit Formula | Description
Normal | installed_units | All installed cooling units operate
Failure | installed_units - 1 | One cooling unit unavailable (N+1)
Maintenance | installed_units - 1 | One cooling unit under planned maintenance

## Solver_Logic
Step | Logic
1 | Read Total IT Capacity from UI
2 | Read Cooling Unit Capacity from Configuration
3 | installed_units = ceil(total_it_capacity / cooling_unit_capacity)
4 | Apply Running Unit Formula from selected Scenario
5 | Expand equipment quantity = running_units × equipment per cooling unit